## Dynamic_SLSQP1
Algorithm : SLSQP
Design variables
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 0.91 | 0.97 | 1 |  | 0.87 | 0.87 | 0.87 |  | 1.2 | 1.2 | 1.2 | 0.87 | 0.87 | 0.872
Twist | 0.8 | 0.8 | 0.8 |  | 0.8 | 0.8 | 0.8 |  | 1.2 | 1.2 | 1.2 | 0.82 | 0.8 | 0.83
Pitch | 0.055 |  |  |  | -0.286 |  |  |  | 1 |  |  | 0.143
TSR | 0.9 |  |  |  | 0.9 |  |  |  | 1.05 |  |  | 0.9546
tau_root | 0.85 |  |  |  | 0.8 |  |  |  | 1.2 |  |  | 0.8
tau_75 | 0.85 |  |  |  | 0.8 |  |  |  | 1.2 |  |  | 0.8
Optimum Values |  |  | Optimization Details |  |  |  | Reference values |  |  |  |  | Absolute optimum
Blade Mass | 13667.9461 |  | Time (s) | 13423.57 |  |  | Chord | 3.542 | 3.01 | 2.313 |  | 2.6565 | 2.563 | 1.7374
Rated wind speed | 11.369 |  | Iterations | 7 |  |  | Twist | 13.308 | 9 | 3.125 |  | 7.9848 | 12.6 | 4.375
Cp | 0.4722 |  | Function eval | 14 |  |  | Pitch | 3.5 |  |  |  | 0.5005
Deflection | 7.0457 |  | Gradient eva | 7 |  |  | TSR | 7.6 |  |  |  | 7.255
Max Stress | 630.33 | [5 empty] | tau_root | - |  |  |  | 0.8
LCOE | 8.3802 | [5 empty] | tau_75 | - |  |  |  | 0.8
Relative LCOE | 0.9589
AEP | 1.4137e+12
FAST was not run everytime. Tip deflection is not sensitive to really small changes

## Dynamic_SLSQP2
Algorithm : SLSQP
Design variables
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 0.85 | 0.9 | 0.85 |  | 0.75 | 0.75 | 0.75 |  | 1.25 | 1.25 | 1.25 | 0.87 | 0.87 | 0.872
Twist | 0.9 | 0.8 | 1 |  | 0.6 | 0.6 | 0.6 |  | 1.4 | 1.4 | 1.4 | 0.82 | 0.8 | 0.83
Pitch | 0.7 |  |  |  | -0.286 |  |  |  | 1 |  |  | 0.143
TSR | 1 |  |  |  | 0.85 |  |  |  | 1.15 |  |  | 0.9546
tau_root | 0.8 |  |  |  | 0.7 |  |  |  | 1.3 |  |  | 0.7
tau_75 | 0.8 |  |  |  | 0.7 |  |  |  | 1.3 |  |  | 0.7
Optimum Values |  |  | Optimization Details |  |  |  | Reference values |  |  |  |  | Absolute optimum
Blade Mass | 11954.519 |  | Time (s) | 50643.17 |  |  | Chord | 3.542 | 3.01 | 2.313 |  | 3.0815 | 2.6187 | 2.0169
Rated wind speed | 12.977 |  | Iterations | 11 |  |  | Twist | 13.308 | 9 | 3.125 |  | 10.9126 | 7.2 | 2.5938
Cp | 0.31754 |  | Function eval | 62 |  |  | Pitch | 3.5 |  |  |  | 0.5005
Deflection | 6.2782 |  | Gradient eva | 11 |  |  | TSR | 7.6 |  |  |  | 8.692
Max Stress | 610.38 | [5 empty] | tau_root | - |  |  |  | 0.7
LCOE | 8.9813 | [5 empty] | tau_75 | - |  |  |  | 0.7
Relative LCOE | 1.0277
AEP | 1.1793e+12
Suport costs | 303768499.8703
The optimizer gets stuck in a local minima.
A good point that was observed in this run was
Optimum Values | [6 empty] | Chord | 3.542 | 3.01 | 2.313 |  | 2.8026 | 2.6786 | 2.0762
Blade Mass | 12514.35 | [5 empty] | Twist | 13.308 | 9 | 3.125 |  | 11.9667 | 6.972 | 3.058
Rated wind speed | 11.525 | [5 empty] | Pitch | 3.5 |  |  |  | 2.282
Cp | 0.4532 | [5 empty] | TSR | 7.6 |  |  |  | 8.2748
Deflection | 7.155 | [5 empty] | tau_root | - |  |  |  | 0.736
Max Stress | 610.56 | [5 empty] | tau_75 | - |  |  |  | 0.788
LCOE | 8.2649
Relative LCOE
AEP | 1352404670000
Support costs | 340889753.158

## Dynamic_SLSQP3
Algorithm : SLSQP
Design variables
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 0.8 | 0.9 | 0.8 |  | 0.75 | 0.75 | 0.75 |  | 1.25 | 1.25 | 1.25 | 0.75 | 0.92 | 0.87233
Twist | 0.9 | 0.8 | 1 |  | 0.7 | 0.7 | 0.7 |  | 1.3 | 1.3 | 1.3 | 0.89929 | 0.74722 | 0.95648
Pitch | 0.65 |  |  |  | -0.286 |  |  |  | 1 |  |  | 0.59943
TSR | 1.03 |  |  |  | 0.855 |  |  |  | 1.118 |  |  | 0.95447
tau | 0.8 |  |  |  | 0.7 |  |  |  | 1.3 |  |  | 0.7
Optimum Values |  |  | Optimization Details |  |  |  | Reference values |  |  |  |  | Absolute optimum
Blade Mass | 12181.3489 |  | Time (s) | 6148.62 | s |  | Chord | 3.542 | 3.01 | 2.313 |  | 2.6565 | 2.7692 | 2.0177
Rated wind speed | 11.52 |  | Iterations | 2 |  |  | Twist | 13.308 | 9 | 3.125 |  | 11.9677 | 6.725 | 2.989
Cp | 0.45382 |  | Function eval | 3 |  |  | Pitch | 3.5 |  |  |  | 2.098
Deflection | 6.549 |  | Gradient eva | 2 |  |  | TSR | 7.6 |  |  |  | 7.254
Max Stress | 617.9523 | [5 empty] | tau | - |  |  |  | 0.7
LCOE | 8.3762
Relative LCOE | 0.95848
AEP | 1334727740000
Suport costs | 339258547.7853
Max Ct | 0.6575
Farm Eff | 0.93307
Another point | [6 empty] | Chord | 3.542 | 3.01 | 2.313 |  | 2.6565 | 2.7062 | 1.9788
Blade Mass | 12402.1114 | [5 empty] | Twist | 13.308 | 9 | 3.125 |  | 11.9624 | 6.9963 | 3.0636
Rated wind speed | 11.468 | [5 empty] | Pitch | 3.5 |  |  |  | 2.1166
Cp | 0.46 | [5 empty] | TSR | 7.6 |  |  |  | 8.4739
Deflection | 6.953 | [5 empty] | tau | - |  |  |  | 0.724
Max Stress | 619.8578
LCOE | 8.3846
Relative LCOE
AEP | 1337575190000
Support costs | 348533061.877
Max Ct | 0.69709
Farm Eff | 0.92947

## Dynamic_SLSQP4
Algorithm : SLSQP
Design variables
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 1 | 1 | 1 |  | 0.75 | 0.75 | 0.75 |  | 1.25 | 1.25 | 1.25 | 0.75 | 0.90578 | 0.8837
Twist | 1 | 1 | 1 |  | 0.7 | 0.7 | 0.7 |  | 1.3 | 1.3 | 1.3 | 1.0107 | 0.93056 | 1.0245
Pitch | 0.03 |  |  |  | -0.286 |  |  |  | 1 |  |  | 0.11585
TSR | 1 |  |  |  | 0.855 |  |  |  | 1.118 |  |  | 0.855
tau | 0.9 |  |  |  | 0.7 |  |  |  | 1.3
Optimum Values |  |  | Optimization Details |  |  |  | Reference values |  |  |  |  | Absolute optimum
Blade Mass | 11915.1809 |  | Time (s) | 11760.44 | s |  | Chord | 3.542 | 3.01 | 2.313 |  | 2.6565 | 2.7264 | 2.044
Rated wind speed | 11.5788 |  | Iterations | 4 |  |  | Twist | 13.308 | 9 | 3.125 |  | 13.45 | 8.375 | 3.2017
Cp | 0.44701 |  | Function eval | 5 |  |  | Pitch | 3.5 |  |  |  | 0.40548
Deflection | 6.9297 |  | Gradient eva | 4 |  |  | TSR | 7.6 |  |  |  | 6.498
Max Stress | 610.8856 | [5 empty] | tau | - |  |  |  | 0.7
LCOE | 8.4808
Relative LCOE | 0.9518
AEP | 1325032240000
Suport costs | 341693812.7991
Max Ct | 0.65719
Farm Eff | 0.93235
Initial values
Blade Mass | 17393.3449
Rated wind speed | 11.3019
Cp | 0.48067
Deflection | 5.5367
Max Stress | 557.9553
LCOE | 8.9101
Relative LCOE | -
AEP | 1348603030000
Suport costs | 380827767.6956
Max Ct | 0.80299
Farm Eff | 0.919

## Dynamic_SLSQP5
Algorithm : SLSQP
Design variables
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 0.8 | 1 | 0.75 |  | 0.75 | 0.75 | 0.75 |  | 1.25 | 1.25 | 1.25 | 0.75 | 0.9207 | 0.87328
Twist | 0.75 | 0.85 | 1 |  | 0.7 | 0.7 | 0.7 |  | 1.3 | 1.3 | 1.3 | 0.75503 | 0.79131 | 0.95475
Pitch | 0.7 |  |  |  | -0.286 |  |  |  | 1 |  |  | 0.64903
TSR | 1.1 |  |  |  | 0.855 |  |  |  | 1.118 |  |  | 1.0724
tau | 0.85 |  |  |  | 0.7 |  |  |  | 1.3 |  |  | 0.7
Optimum Values |  |  | Optimization Details |  |  |  | Reference values |  |  |  |  | Absolute optimum
Blade Mass | 12185.6734 |  | Time (s) | 11993.99 | s |  | Chord | 3.542 | 3.01 | 2.313 |  | 2.6565 | 2.7713 | 2.0199
Rated wind speed | 11.477 |  | Iterations | 3 |  |  | Twist | 13.308 | 9 | 3.125 |  | 10.048 | 7.1218 | 2.9836
Cp | 0.45901 |  | Function eval | 8 |  |  | Pitch | 3.5 |  |  |  | 2.2716
Deflection | 6.801 |  | Gradient eva | 3 |  |  | TSR | 7.6 |  |  |  | 8.15
Max Stress | 650.7111 | [5 empty] | tau | - |  |  |  | 0.7
LCOE | 8.372
Relative LCOE
AEP | 1337465500000
Suport costs | 346221590.2801
Max Ct | 0.68818
Farm Eff | 0.93034
Initial values
Blade Mass | 17210.9628
Rated wind speed | 11.5016
Cp | 0.45607
Deflection | 3.989
Max Stress | 479.026
LCOE | 8.6077
Relative LCOE | -
AEP | 1334250680000
Suport costs | 349376636.9938
Max Ct | 0.68188
Farm Eff | 0.9307