## Dynamic_SLSQP1
Algorithm : SLSQP
Design variables
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 0.91 | 0.97 | 1 |  | 0.87 | 0.87 | 0.87 |  | 1.2 | 1.2 | 1.2 | 0.87 | 0.87 | 0.872
Twist | 0.8 | 0.8 | 0.8 |  | 0.8 | 0.8 | 0.8 |  | 1.2 | 1.2 | 1.2 | 0.82 | 0.8 | 0.83
Pitch | 0.055 |  |  |  | -0.286 |  |  |  | 1 |  |  | 0.143
TSR | 0.9 |  |  |  | 0.9 |  |  |  | 1.05 |  |  | 0.9546
tau_root | 0.85 |  |  |  | 0.8 |  |  |  | 1.2 |  |  | 0.8
tau_75 | 0.85 |  |  |  | 0.8 |  |  |  | 1.2 |  |  | 0.8
Optimum Values |  |  | Optimization Details |  |  |  | Reference values |  |  |  |  | Absolute optimum
Blade Mass | 13667.9461 |  | Time (s) | 13423.57 |  |  | Chord | 3.542 | 3.01 | 2.313 |  | 3.0815 | 2.6187 | 2.0169
Rated wind speed | 11.369 |  | Iterations | 7 |  |  | Twist | 13.308 | 9 | 3.125 |  | 10.9126 | 7.2 | 2.5938
Cp | 0.4722 |  | Function eval | 14 |  |  | Pitch | 3.5 |  |  |  | 0.5005
Deflection | 7.0457 |  | Gradient eva | 7 |  |  | TSR | 7.6 |  |  |  | 7.255
Max Stress | 630.33 | [5 empty] | tau_root | - |  |  |  | 0.8
LCOE | 8.3802 | [5 empty] | tau_75 | - |  |  |  | 0.8
Relative LCOE | 0.9589
AEP | 1.4137e+12
FAST was not run everytime. Tip deflection is not sensitive to really small changes

## Dynamic_GA1
Algorithm : GA
Design variables
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 0.9 | 0.9 | 0.9 |  | 0.87 | 0.87 | 0.87 |  | 1.2 | 1.2 | 1.2 | 0.87 | 0.90194 | 0.88065
Twist | 1 | 1 | 1 |  | 0.7 | 0.7 | 0.7 |  | 1.2 | 1.2 | 1.2 | 1.1677 | 0.74839 | 1.1194
Pitch | 0.028 |  |  |  | -0.286 |  |  |  | 1 |  |  | 0.21181
TSR | 1 |  |  |  | 0.9 |  |  |  | 1.05 |  |  | 0.98226
tau | 0.9 |  |  |  | 0.8 |  |  |  | 1.2 |  |  | 0.8129
Optimum Values |  |  | Optimization Details |  |  |  | Reference values |  |  |  |  | Absolute optimum
Blade Mass | 14340.878 |  | Time (s) | 86709.05 |  |  | Chord | 3.542 | 3.01 | 2.313 |  | 3.0815 | 2.7148 | 2.0369
Rated wind speed | 11.371 |  | Pop size | 18 |  |  | Twist | 13.308 | 9 | 3.125 |  | 15.5403 | 6.7355 | 3.498
Cp | 0.4719 |  | Max gen | 10 |  |  | Pitch | 3.5 |  |  |  | 0.74132
Deflection | 6.336 | [5 empty] | TSR | 7.6 |  |  |  | 7.4652
Max Stress | 585.05 | [5 empty] | tau | - |  |  |  | 0.8129
LCOE | 8.3739
Relative LCOE | 0.9588
AEP | 1.4152e+12
Did not converge completely. Last generation still had few values slightly higher than the optimum. Maybe a few generations more would help
Population size too low as well

## Static_SLSQP1
Algorithm : SLSQP
Design variables : Normalized
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 1 | 1 | 1 |  | 0.75 | 0.75 | 0.75 |  | 1.25 | 1.25 | 1.25 | 0.75 | 0.92452 | 0.7505
Twist | 1 | 1 | 1 |  | 0.5 | 0.5 | 0.5 |  | 1.5 | 1.5 | 1.5 | 1.0282 | 0.89913 | 1.0721
Pitch | 0.028 |  |  |  | -1.5 |  |  |  | 1.5 |  |  | 0.11414
TSR | 1 |  |  |  | 0.8 |  |  |  | 1.2 |  |  | 1.0764
tau_root | 0.9 |  |  |  | 0.6 |  |  |  | 1.4 |  |  | 0.6
tau_75 | 0.9 |  |  |  | 0.6 |  |  |  | 1.4 |  |  | 0.8966
Optimum Values |  |  | Optimization Details |  |  |  | Reference values for scaling |  |  |  |  | Absolute optimum
Blade Mass | 12012.3695 |  | Time (s) | 21347.01 |  |  | Chord | 3.542 | 3.01 | 2.313 |  | 2.6565 | 2.7828 | 1.7359
Rated wind speed | 11.17 |  | Iterations | 13 |  |  | Twist | 13.308 | 9 | 3.125 |  | 13.6833 | 8.0922 | 3.3502
Cp | 0.49787 |  | Function eval | 70 |  |  | Pitch | 3.5 |  |  |  | 0.3995
Deflection | 7.0664 |  | Gradient eva | 13 |  |  | TSR | 7.6 |  |  |  | 8.181
Max Stress | 559.947 | [5 empty] | tau_root | - |  |  |  | 0.6
LCOE | 8.2451 | [5 empty] | tau_75 | - |  |  |  | 0.8966
Relative LCOE | 0.94348
AEP | 1.4226e+12

## Static_SLSQP1_Cpchanged
Algorithm : SLSQP
Design variables : Normalized
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 1 | 1 | 1 |  | 0.75 | 0.75 | 0.75 |  | 1.25 | 1.25 | 1.25 | 0.75008 | 0.92454 | 0.82514
Twist | 1 | 1 | 1 |  | 0.5 | 0.5 | 0.5 |  | 1.5 | 1.5 | 1.5 | 1.0157 | 0.92769 | 1.0204
Pitch | 0.028 |  |  |  | -1.5 |  |  |  | 1.5 |  |  | 0.087914
TSR | 1 |  |  |  | 0.8 |  |  |  | 1.2 |  |  | 0.8
tau_root | 0.9 |  |  |  | 0.6 |  |  |  | 1.4 |  |  | 0.6
tau_75 | 0.9 |  |  |  | 0.6 |  |  |  | 1.4 |  |  | 0.844
Optimum Values |  |  | Optimization Details |  |  |  | Reference values for scaling |  |  |  |  | Absolute optimum
Blade Mass | 11453.9884 |  | Time (s) | 9152.45 |  |  | Chord | 3.542 | 3.01 | 2.313 |  | 2.6568 | 2.7829 | 1.9085
Rated wind speed | 11.6919 |  | Iterations | 5 |  |  | Twist | 13.308 | 9 | 3.125 |  | 13.5169 | 8.3492 | 3.1886
Cp | 0.43417 |  | Function eval | 16 |  |  | Pitch | 3.5 |  |  |  | 0.3077
Deflection | 6.8716 |  | Gradient eva | 5 |  |  | TSR | 7.6 |  |  |  | 6.08
Max Stress | 532.7578 | [5 empty] | tau_root | - |  |  |  | 0.6
LCOE | 8.511 | [5 empty] | tau_75 | - |  |  |  | 0.844
Relative LCOE | 0.97391
AEP | 1.3515e+12
Stuck at a local minima : Tweaking few things manually gave a better result ( chord and TSR)
Optimum Values | [6 empty] | Reference values for scaling |  |  |  |  | Absolute optimum
Blade Mass | 11751.257 | [5 empty] | Chord | 3.542 | 3.01 | 2.313 |  | 2.6568 | 2.7829 | 1.781
Rated wind speed | 11.4542 | [5 empty] | Twist | 13.308 | 9 | 3.125 |  | 13.5169 | 8.3492 | 3.1886
Cp | 0.46184 | [5 empty] | Pitch | 3.5 |  |  |  | 0.3077
Deflection | 6.7894 | [5 empty] | TSR | 7.6 |  |  |  | 6.84
Max Stress | 528.256 | [5 empty] | tau_root | - |  |  |  | 0.6
LCOE | 8.4044 | [5 empty] | tau_75 | - |  |  |  | 0.844
Relative LCOE | 0.9618
AEP | 1.3832e+12
Starting at the optimum point of previous result gives :
Optimum Values
Blade Mass | 12013.2713
Rated wind speed | 11.2885
Cp | 0.4824
Deflection | 7.2166
Max Stress | 571.5342
LCOE | 8.3918
Relative LCOE | 0.9603
AEP | 1.4002e+12

## Static_GA1
Algorithm : GA
Design variables
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 1 | 1 | 1 |  | 0.75 | 0.75 | 0.75 |  | 1.25 | 1.25 | 1.25 | 0.75 | 0.9112 | 0.766
Twist | 1 | 1 | 1 |  | 0.6 | 0.6 | 0.6 |  | 1.4 | 1.4 | 1.4 | 1.2967 | 0.806 | 1.2968
Pitch | 0.028 |  |  |  | -1 |  |  |  | 1 |  |  | 0.3387
TSR | 1 |  |  |  | 0.8 |  |  |  | 1.2 |  |  | 0.9677
tau_root | 0.9 |  |  |  | 0.7 |  |  |  | 1.4 |  |  | 0.7225
tau_75 | 0.9 |  |  |  | 0.7 |  |  |  | 1.4 |  |  | 0.7903
Optimum Values |  |  | Optimization Details |  |  |  | Reference values |  |  |  |  | Absolute optimum
Blade Mass | 13279.157 |  | Time (s) | 80000 |  |  | Chord | 3.542 | 3.01 | 2.313 |  | 2.6565 | 2.743 | 1.772
Rated wind speed | 11.371 |  | Pop size | 30 |  |  | Twist | 13.308 | 9 | 3.125 |  | 17.257 | 7.258 | 4.052
Cp | 0.455 |  | Max gen | 15 |  |  | Pitch | 3.5 |  |  |  | 1.1854
Deflection | 6.6 | [5 empty] | TSR | 7.6 |  |  |  | 7.3545
Max Stress | 560.83 | [5 empty] | tau_root | - |  |  |  | 0.7225
LCOE | 8.396 | [5 empty] | tau_75 |  |  |  |  | 0.7903
Relative LCOE | 0.9607
AEP | -
15 is too low for a population size of 30
When used as a starting point for SLSQP, no progress. Optimizer gets stuck for 12 hours with no reduction in LCOE.

## Dynamic_GA2
Algorithm : GA
Design variables
| Starting point |  |  |  | Lower Bound |  |  |  | Upper Bound |  |  | Optimum
Chord | 0.766 | 0.895 | 0.7822 |  | 0.75 | 0.75 | 0.75 |  | 1.1 | 1.1 | 1.1 | 0.7952 | 0.89677 | 0.85161
Twist | 1.2967 | 0.8322 | 1.348 |  | 0.6 | 0.6 | 0.6 |  | 1.4 | 1.4 | 1.4 | 0.96129 | 0.6 | 1.3226
Pitch | 0.3387 |  |  |  | -0.286 |  |  |  | 1 |  |  | 0.502
TSR | 0.9677 |  |  |  | 0.85 |  |  |  | 1.15 |  |  | 1.1403
tau_root | 0.722 |  |  |  | 0.7 |  |  |  | 1.1 |  |  | 0.7129
tau_75 | 0.7677 |  |  |  | 0.7 |  |  |  | 1.1 |  |  | 0.7258
Optimum Values |  |  | Optimization Details |  |  |  | Reference values |  |  |  |  | Absolute optimum
Blade Mass | 12427.494 |  | Time (s) | 115175.15 |  |  | Chord | 3.542 | 3.01 | 2.313 |  | 2.8166 | 2.6993 | 1.9698
Rated wind speed | 11.4432 |  | Pop size | 20 |  |  | Twist | 13.308 | 9 | 3.125 |  | 12.7928 | 5.4 | 4.1331
Cp | 0.4631 |  | Max gen | 15 |  |  | Pitch | 3.5 |  |  |  | 1.757
Deflection | 6.8775 |  | Evaluations | 320 |  |  | TSR | 7.6 |  |  |  | 8.6663
Max Stress | 657.5 | [5 empty] | tau_root | - |  |  |  | 0.7129
LCOE | 8.2674 | [5 empty] | tau_75 |  |  |  |  | 0.7258
Relative LCOE | 0.946
AEP | 1361506580000
Did not converge completely. Last generation still had few values slightly higher than the optimum. Maybe a few generations more would help
Population size too low as well